## Slide 1
R129 Future Housing Concept Prof. Werner Sobek
White Sky iHouse Lindemann Architects
Farmscrapers – Housing of the Future Vincent Callebaut Architectures
Floating Housing Project Concept For Uncertain Climate Future Alexander Remizov
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Benjamin Beer, Meinhardt Façade Technology

## Slide 2
“YOU ARE ONLY AS GOOD AS
WHAT YOU DID TODAY!”
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © C. Keith Boswell Skidmore, Ownings & Merrill LLP
C. Keith Boswell
Notes: CLOSING SLIDE

## Slide 3
TRANSPARENCY
Notes: CLOSING SLIDE

## Slide 4: Glass Railing Systems - Examples
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Vicente Montes-Amoros, CDC, Inc.

## Slide 5
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©James Ocallaghan, Eckersley O’Callaghan

## Slide 6
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©James Ocallaghan, Eckersley O’Callaghan

## Slide 7
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © C. Keith Boswell Skidmore, Ownings & Merrill LLP
Renovate / transparency
San Francisco, California
680 Folsom

## Slide 8
2006
2011
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©James Ocallaghan, Eckersley O’Callaghan
Notes: Led to desire from Steve Jobs to re construct Apple’s most iconic glass structure in the most minimal way currently achievable
Cube to be re-opened today
18 façade panels reduced to just 3
36 roof panels reduced to just 3

## Slide 9
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©James Ocallaghan, Eckersley O’Callaghan

## Slide 10
STRUCTURAL GLASS
Notes: CLOSING SLIDE

## Slide 11
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Tim Macfarlane,
Glass Light and Special Structures Limited

## Slide 12
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Tim Macfarlane,
Glass Light and Special Structures Limited

## Slide 13
National Bank
of Denmark
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Stig Mikkelsen, MIKKELSEN Architects

## Slide 14
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©James Ocallaghan, Eckersley O’Callaghan

## Slide 15
Glass beams as structural elements
Supporting floors/roofs
Glass frames
Fins for glazed façades
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © Kenny Martens, Ghent University

## Slide 16
Laminated glass panels
Victoria & Albert Museum, London
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Mick Eekhout, TU Delft

## Slide 17
Glass finns 2010 after extension
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Mick Eekhout, TU Delft

## Slide 18: Solution: connected glass beams
New connection prototype
Reinforced laminated glass beams
Adhesively transparent connection
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © Kenny Martens, Ghent University
Notes: Combination of reinforcement connection & adhesive connection
Result: Tranparency + post-breakage behaviour

## Slide 19: Solution: connected glass beams
New connection prototype
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © Kenny Martens, Ghent University
Notes: Combination of reinforcement connection & adhesive connection
Result: Tranparency + post-breakage behaviour

## Slide 20
What about safety?
Hybrid glass beams  Safe failure behaviour
Regular glass beam
Hybrid glass beam
Ductility
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © Kenny Martens, Ghent University
Initial glass failure
Post-breakage strength
Notes: Solution: hybrid glass beams, combination of glass with other elements
Many different types were developed using steel, timber, GFRP, concrete
Result: post-breakage capacity & ductility

## Slide 21
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©James Ocallaghan
Eckersley O’Callaghan

## Slide 22
COLD BENDING
Notes: CLOSING SLIDE

## Slide 23
©LEICHT
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © Lutz Schöne, LEICHT
Structural Engineering & Specialist Consulting
Transparent elements

## Slide 24
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Gianni Royer-Carfagni
Univesity of Parma, Italy
Cold bent glass in architecture

## Slide 25
Insulated glass panel. Cold bending assessment (gradient) according to established criteria
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Benjamin Beer Meinhardt Façade Technology
Parametric modeling. Freeform facade

## Slide 26
GLAZING
Notes: CLOSING SLIDE

## Slide 27: History
Origins of Structural Glazing
  1971: First 4-sided SG – Detroit 1971
  1980: Use of 1K neutral silicone
  1984: In factory glazing with 2K silicone sealants
1983_Alaska
1984_Hong Kong
2009_Dubai
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © P. Vandereecken, Dow Corning

## Slide 28: Structural Glazing
Bonding of glass onto a metallic frame
  Frameless façade
  Improved aesthetics
  Increase design possibilities
  Air & water permeable
  Energy efficient
Weathersealant (air & water tightness)
SG sealant
Glass to metal bonding
IG sealant Glass to glass bonding
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © P. Vandereecken, Dow Corning

## Slide 29: Bolted point-fixings to increase transparency
In facades and in canopies
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © Kenny Martens, Ghent University

## Slide 30
Point Fixing Condensation
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©David Appelfeld & Valarie Hayez, Dow Corning Europe SA
Notes: The energy benefit of using TSSA compare to traditional point fixing by fixing bolts is illustrated here. The heat flow through this specific detail was reduced from 62.0 W/m to 25.3 W/m for traditional point fixing to TSSA. The condensation on glass and fixing bolds, indicated by thick read line, was completely eliminated due to removing the thermal bridge.

## Slide 31: However stress-concentrations arise
Tension
Solution
Adhesive
point-fixings
Mocibob, D., & Belis, J. (2010). Coupled experimental and numerical investigation of structural glass panels
with small slenderness subjected to locally introduced axial compression. Engineering Structures, 32(3), 753–761.
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © Kenny Martens, Ghent University
Compression

## Slide 32
DESIGN PROBLEMS
Notes: CLOSING SLIDE

## Slide 33: Glass Surface Corrosion
  Summary of GPD – 2015, J.Vitkala
  Source: www.gpd.fi © Peter Hartog, Building Diagnostics Asia Pacific, Chris Barry, Glass Consultant

## Slide 34
Distortion of reflected sunlight from wrinkles and areas of non-uniform thickness in combinations of PVB and PET laminating films
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © Peter Hartog, Building Diagnostics Asia Pacific, Chris Barry, Glass Consultant

## Slide 35
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © Peter Hartog, Building Diagnostics Asia Pacific, Chris Barry, Glass Consultant
The number and visibility of moiré fringes are functions of the magnitude of thermal deformation of sheet metal back-panels

## Slide 36: 32nd floor of office building (Melbourne)
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © Peter Hartog, Building Diagnostics Asia Pacific, Chris Barry, Glass Consultant

## Slide 37: When Buildings Attack Their Neighbors
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Vicente Montes-Amoros, CDC Inc

## Slide 38: The Death Ray Strikes Back
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Vicente Montes-Amoros, CDC Inc

## Slide 39: The Death Ray Strikes Back
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Vicente Montes-Amoros, CDC Inc

## Slide 40: The Death Ray Strikes Back
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Vicente Montes-Amoros, CDC Inc

## Slide 41: What Is Anisotropy?
Source: Vehmas, J., Glaston
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Saverio Pasetto, Skanska UK
Notes: Darker/lighter areas or multicolour patterns on glass plate
leopard spots – strain patterns – iridescence – polarization fields - quench marks

## Slide 42: What causes anisotropy?
Stresses in glass plate due to heat treatment
Polarised light: reflection & scattering
Viewing Angle & Conditions
Source: Schweitzer, A. - Arcon Flachglas-Veredlung
Controllable?
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Saverio Pasetto, Skanska UK
Notes: STRESSES ALTER BEHAVIOUR OF LIGHT
POLARISED LIGHT: BUILDINGS, WATER, ASPHALT, BLUE SKY,HUMAN EYE
ISOTROPIC MATERIALS AND FLOAT, DIRECTIONALLY DEPENDANT PROPERTIES
OPTICAL ANISOTROPY, ANISOTROPY OF REFRACTIVE INDEX,
STRESSES?

## Slide 43: What causes anisotropy?
Annealed float glass
No anisotropy
Need for
Heat treatment
Potential for anisotropy
Heat treatment
Introduces anisotropy
Stresses + viewing conditions
Affect visibility of anisotropy
No issues
Big issues
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Saverio Pasetto, Skanska UK
Notes: STRESSES ALTER BEHAVIOUR OF LIGHT
POLARISED LIGHT: BUILDINGS, WATER, ASPHALT, BLUE SKY,HUMAN EYE
ISOTROPIC MATERIALS AND FLOAT, DIRECTIONALLY DEPENDANT PROPERTIES
OPTICAL ANISOTROPY, ANISOTROPY OF REFRACTIVE INDEX,
STRESSES?

## Slide 44: State of the art: Acceptance/Rejection
Area with non-critical
Anisotropy level
Area with critical
Anisotropy level
Source: Schweitzer, A. - Arcon Flachglas-Veredlung
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Saverio Pasetto, Skanska UK
Notes: Importance of SOTA
Need for objectivity: importance of measurement
Specifications

## Slide 45: State of the art: Acceptance/Rejection
Source: Schweitzer, A. - Arcon Flachglas-Veredlung
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Saverio Pasetto, Skanska UK
Isotropy-value:
Percentage of the surface of the glass which does not show critical
Anisotropy level
Source: Vehmas, J., Glaston
Notes: Importance of SOTA
Need for objectivity: importance of measurement
Specifications

## Slide 46: Standards vs. specifications
Do agreed specifications clearly address anisotropy acceptance and rejection criteria?
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Saverio Pasetto, Skanska UK

## Slide 47: Standards vs. specifications
… a glass supply chain problem?
Are clients prepared to pay more to avoid issues associated with anisotropy or to take the risk?
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Saverio Pasetto, Skanska UK

## Slide 48
A Summary Presentation of GPD Finland 2015:
ENERGY

## Slide 49: Tapping into the potential of the building sector
’Energy efficiency first’ principle
Buildings (and transport) as priority sectors where energy efficiency gains must be reaped
Focus of financial and regulatory efforts in these sectors
Need to empower consumers in the energy transition
Over 40% of EU energy consumption from buildings
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Bertrand Cazes & Niels Schreuder, Glass for Europe

## Slide 50: Building Energy Performance Needs to Improve
41.5% of Energy Consumption goes to Buildings
Total 2009 US Energy Consumption by Sector (Source: US Energy Information Administration)
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Patrica R. Athey, PPG Industries Inc

## Slide 51: Energy Loss in Buildings
  Energy Loss Through the Windows has the Largest Impact of Any Building Envelope
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © Damoder Reddy, Argil, Inc
US buildings account for:
71% of electricity
39% of total energy

## Slide 52: An energy efficiency tool for consumers
EU energy labelling:
  To inform consumers about the energy-efficiency of products
  Support the market uptake of best-in-class solutions
  Be condusive for innovation
The EU challenge:
  From energy-using products to energy-related products
  Can it work for building products?
Updated regulatory framework in place to make it happen:
  Revised Energy Labelling Directive (2010)
  Working Plan for 2012-2014: Windows in the “priority product groups”
  New Methodology for the Ecodesign of Energy related Products (MEErP)
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Bertrand Cazes & Niels Schreuder, Glass for Europe

## Slide 53
BUILDING ORIENTATION -
Energy Management
Notes: CLOSING SLIDE

## Slide 54
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Stig Mikkelsen, MIKKELSEN Architects
News Building, Danish Broadcasting Corporation
Climate Strategy