## Slide 1
BUILDING ORIENTATION -
Energy Management
Notes: CLOSING SLIDE

## Slide 2
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Stig Mikkelsen, MIKKELSEN Architects
News Building, Danish Broadcasting Corporation
Climate Strategy

## Slide 3: Optimize Commercial Building Energy Usage
Design Building Energy Perf. & Aesthetics by Climate Zone
Orientation
Window to Wall Ratio (WWR)
Shape
Floor to Floor Wall Area
(13’ x 20’)
Floor to Floor Wall Area
(13’ x 20’)
SQUARE
RECTANGULAR
N
SQUARE
RECTANGULAR
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Patrica R. Athey, PPG Industries Inc
0
45
90
135
0
45
90
135

## Slide 4
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Stig Mikkelsen, MIKKELSEN Architects
University of Copenhagen Royal Library Amager

## Slide 5
Sun radiation
Sand
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Peter French, Snohetta
Notes: Shade varjostaa shading device

## Slide 6
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Peter French, Snohetta

## Slide 7
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Oliver Ng, BG&E
Notes: Did the RCH

## Slide 8
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Oliver Ng, BG&E

## Slide 9: Criteria for Selecting Optimal Facades
Comfort
View/Privacy
Security
Acoustics
Structure
Recycled Materials
Energy / Carbon
Daylight
Aesthetics
Weatherproof
Cleaning
Maintenance
Durability
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Stephen Selkowitz, Lawrence Berkeley National Laboratory
Notes: There are many important criteria and relative importance may vary with the job.
For this discussion the initial focus is “Energy- related” but the approach provides many other measurable benefits

## Slide 10: Annual Energy Costs in Perspective: Occupancy Costs = 100 x Energy Cost
Energy Cost: $50.00
Rent: $500.00
“Productivity” $5000.00+
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Stephen Selkowitz, Lawrence Berkeley National Laboratory
Smart Integrated Systems will Improve Comfort!
Check: Where is the Real Cost in Buildings?
Cost / Sq. M. Floor -Year
Notes: You know this slide… productivity = salary x2 (for overheades) / floor area…
Well designed facades can deliver value here even if we cant yet fully quantify health, performance , etc My view is these are real but hard to quantify, hard to relate to specific design variables

## Slide 11: The Integrated Façade/Lighting System “Challenge”
BIPV
Facade
Solar intensity
Daylight, glare
Shade position
Lighting
Occupancy
Illuminance level
Energy use
HVAC
Outdoor and indoor temp
Heat/ cool/ econ mode
COP
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Stephen Selkowitz, Lawrence Berkeley National Laboratory
Notes: Challenge- many moving parts- all combinations possible- too many choices, too many interactions
AEC will never master all this- result- too costly, will not specify

## Slide 12
VIG VACUUM INSULATING GLASS -
Glass Of The Future?
Notes: CLOSING SLIDE

## Slide 13: highly thermally insulating glazing – VIG – vacuum insulating glaizing
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Cenk Kocer, University of Sydney
two panes of glass hermetically sealed at the edges and separated by an evacuated gap, maintained under the influence of atmospheric pressure by an array of spacers

## Slide 14
Image reproduced from the work of, and with the permission of, Prof. (emeritus) Richard E. Collins
VIC - The mechanical performance
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Cenk Kocer, University of Sydney

## Slide 15
Outlook from 3-pane to 4-pane glass
Ug-value improvement when changing from 3-pane to 4-pane glass
0.6 to 0.3 = ∆ - 0.3 W/(m²K)
Calculations: University of Kassel – CESR
Ug value of quadruple glazing: IFT calculation
* Room temperature 20°C (standard climate D according to PHPP)
**Assumption: central heating with a gas condensing boiler.
The primary energy analysis includes all energy costs and conversion losses for supplying the fuel from the source to the furnace room ("cumulated energy demand" CED).
Multiple-pane insulating glass Energy required to manufacture the additional chamber
Summary of GPD – 2015, J.Vitkala | Source: www.gpd.fi ©Markus Jandl, LiSEC Austria GmbH

## Slide 16
Facilitate:
U value of 0.3 W/m²K (with argon)
Lowering the primary energy requirement for manufacturing
Reducing weight and costs
Frameless, self-supporting structure
The following technologies:
Quadruple-glazed insulating glass
Thin glass technology
New edge bond
Targets for the insulating glass of the future Which technologies can we use to meet these targets?
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Markus Jandl, LiSEC Austria GmbH

## Slide 17
Coating
Coating
02
02
1
2
Placement of
the coated surfaces
makes a difference
in measurement
Measuring gas concentration without breaking the IGU – even on triples
Summary of GPD – 2015, J. Vitkala
Source: www.gpd.fi © Miikkael Niemi, Sparklike
Notes: Here is a standard triple glazed structure, where the purple line visualizes the laser beam entering the IG from the upper left.
Laser is focused into the IG, and then reflected back from the IG surfaces and DETECTED
We are measuring changes in laser signal caused by oxygen – not only the signal intensity
However, we are dealing with signal budget. So stronger signal equals to higher measuring accuracy, and vice versa.
Laser penetrates float glass well, but has low reflection
Coatings are cutting off the laser power, but reflect amazingly well, like mirror
This all makes the coating transmission and location important feature when considering the measurement
On triple, actually two measurements are made, and from these the results on different cavities can be separated
As a side product, very accurate thickness information on glass and spacers is received

## Slide 18
IGU – for standard to premium sizes
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © Michael Elstner, AGC Interpane

## Slide 19
FUTURE ENERGY MANAGEMENT
SMART WINDOW
Notes: CLOSING SLIDE

## Slide 20: Smart Window Technologies
Suspended Particle Device (SPD)
Liquid-Crystal (LC)
Electrochromie (EC)
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © Damoder Reddy, Argil, Inc

## Slide 21
South facing windows
West facing windows
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © Curtis Liposcak, Pleotint ,LLC
Office Building in Michigan
Thermochromic Tinting Effect at mid-day

## Slide 22
Dynamic Glare & Solar Control: Electrochromic glass
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Helen Sanders, SAGE & Pekka Hakkarainen, Lutron Electronics
STEP 1

## Slide 23
Dynamic Glare & Solar Control: Electrochromic glass
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Helen Sanders, SAGE & Pekka Hakkarainen, Lutron Electronics
STEP 2

## Slide 24
Dynamic Glare & Solar Control: Electrochromic glass
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Helen Sanders, SAGE & Pekka Hakkarainen, Lutron Electronics
STEP 3

## Slide 25
Dynamic Glare & Solar Control: Electrochromic glass
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Helen Sanders, SAGE & Pekka Hakkarainen, Lutron Electronics
STEP 4

## Slide 26
Dynamic Glare & Solar Control: Electrochromic glass
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Helen Sanders, SAGE & Pekka Hakkarainen, Lutron Electronics
STEP 5

## Slide 27: LCD Switchable Glass
>60%
Transmission
50%
Transmission
40%
Transmission
<10%
Transmission
Transmission can be varied by changing voltage
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © Damoder Reddy, Argil, Inc

## Slide 28
Coating
Coating
02
02
1
2
Placement of
the coated surfaces
makes a difference
in measurement
Measuring gas concentration without breaking the IGU – even on triples
Summary of GPD – 2015, J. Vitkala
Source: www.gpd.fi © Miikkael Niemi, Sparklike
Notes: Here is a standard triple glazed structure, where the purple line visualizes the laser beam entering the IG from the upper left.
Laser is focused into the IG, and then reflected back from the IG surfaces and DETECTED
We are measuring changes in laser signal caused by oxygen – not only the signal intensity
However, we are dealing with signal budget. So stronger signal equals to higher measuring accuracy, and vice versa.
Laser penetrates float glass well, but has low reflection
Coatings are cutting off the laser power, but reflect amazingly well, like mirror
This all makes the coating transmission and location important feature when considering the measurement
On triple, actually two measurements are made, and from these the results on different cavities can be separated
As a side product, very accurate thickness information on glass and spacers is received

## Slide 29
Picture from Pilkington
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © Gerald Smid
Beneq Products Oy

## Slide 30
Tout 13 °C
H 57%
W 5 m/s
Tfl 8 °C
00 03 06 09 12 15 18 21 00 03
E
W
N
S
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © Gerald Smid
Beneq Products Oy

## Slide 31
THIN GLASS & PROCESSING
Notes: CLOSING SLIDE

## Slide 32
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Carpenter / Lowings Architecture & Design

## Slide 33: Thin Glass
Summary of GPD – 2015, J.Vitkala | Source: www.gpd.fi ©Jurgen Neugebaur | University of Applied Sciences, FH-Joanneum

## Slide 34
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Jurgen Neugebauer
FH-Joanneun
Glasstech 2014

## Slide 35: THIN GLASS - what is it?
It needs to be avaliable for glass units spanning floor to floor
The processor must be able to strengthen and laminate the glass,- with an aceptable visual quality
The glass product shall meet the requiremnts of product standards
1 ≤ 3 mm
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Hannes Spiss, Facade Engineering Arup
Notes: Thin glass within the construction industry 1- 3mm.
WHY DO WE TALK ABOUT THIS NOW?

## Slide 36
Thin sidelites (2mm or 1,6mm+1,6mm): passanger + bus
2mm cover/back glasses
Thin cold-bend glass for more flexible shapes
Thinner and lighter fire resitant glasses (FRG)
Lower transportation costs with thin glass
Vacuum IG
Thin glass laminates
Thin IGs in e.g. cooler doors
Switchable glazings
Summary of GPD – 2015, J.Vitkala | Source: www.gpd.fi ©Miika Äppelqvist, Glaston

## Slide 37: Challenge of thin glass tempering - Basics
Temperature difference between surface and the mid-part is about 120˚C and temperature of midplate is still over 610˚C
  The thinner the glass, the faster and more efficient the surface cooling has to be
  To create ovet 15pcs fragmentation in 5cmx5cm area the surface compression level should be over 120MPa.
Summary of GPD – 2015, J.Vitkala | Source: www.gpd.fi ©Miika Äppelqvist, Glaston

## Slide 38
Summary of GPD – 2015, J.Vitkala | Source: www.gpd.fi ©Miika Äppelqvist, Glaston

## Slide 39
THICK AND LARGE GLASS
Notes: CLOSING SLIDE

## Slide 40
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©James Ocallaghan,
Eckersley O’Callaghan
When Glass Becomes Bigger, Handling Requires Special Attention

## Slide 41
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Tvitec
Large glass needs special handling equipment -
Tvitec Spain

## Slide 42
Handling large glass is especially challenging
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Tvitec

## Slide 43
But once done, large uniform glass offers
uncomparable views
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Tvitec

## Slide 44
Summary of GPD – 2015, J.Vitkala | Source: www.gpd.fi ©Miika Äppelqvist, Glaston

## Slide 45: Introduction
… A new facade system
iconic skin glass sandwich panel
pre-fabricated building component
cost-efficient glass façade
coated HS glass
flush surface
up to 15 m long
600, 1000, 1100, 1150 mm wide
vertical or horizontal
openings / windows
invisible fixings
shadow gap
max 15 m
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi © Dr. –Ing. Martien Teich, Seele GmbH

## Slide 46: The Ion-Exchange Process
Surface Thermodynamic Equilibrium
Process t >> τ
Kinetic transport in glass matrix
ION SOURCE
Glass Matrix
Summary of GPD – 2015, J.Vitkala | Source: www.gpd.fi ©Guglielmo Macrelli, Isoclima SpA

## Slide 47
Summary of GPD – 2015, J.Vitkala | Source: www.gpd.fi ©Guglielmo Macrelli, Isoclima SpA

## Slide 48
SOLAR
Notes: CLOSING SLIDE

## Slide 49: Ballasted system
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Jim Gulnick, McGrory Glass, Inc.

## Slide 50: Actual view
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Jim Gulnick, McGrory Glass, Inc.

## Slide 51: Monitoring Solar Project
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©Jim Gulnick, McGrory Glass, Inc.

## Slide 52: WELDED GLASS CONNECTIONS
AM glass, PhD research at Facade Research Group,TU Delft, Lisa Rammig
Fully transparent glass connections
To simulate the automated process manually, glass is manually welded in layers
Summary of GPD – 2015, J.Vitkala
Source: www.gpd.fi ©James Ocallaghan, Eckersley O’Callaghan

## Slide 53
Lightdistribution
Redirecting the light
Source: GPD.fi © Frank Schneider, Okalux

## Slide 54
Function of reflective blinds
Type O: intro-reflective
Type U: retro-reflective
Source: GPD.fi © Frank Schneider, Okalux
Notes: Check also Place! Daylight?

## Slide 56
WWW.GPD.FI
Jorma.vitkala@gpd.fi +358 40 553 2042